## image_1.jpeg captured at Mon 01 Dec 2025 01:31:23 PM

[Mon 01 Dec 2025 01:31:25 PM → 01:31:27 PM]   Okay, so this is our demo.

[Mon 01 Dec 2025 01:31:30 PM → 01:31:34 PM]   The first picture we took is the base board.

[Mon 01 Dec 2025 01:31:34 PM → 01:31:37 PM]   It seemed to be coming apart from the wall.

[Mon 01 Dec 2025 01:31:43 PM → 01:31:48 PM]   And this one either needs to be caulked or repainted in order to repair the issue.

## image_2.jpeg captured at Mon 01 Dec 2025 01:33:01 PM

[Mon 01 Dec 2025 01:33:03 PM → 01:33:09 PM]   Okay, so that is another image from the left side of the hallway.

[Mon 01 Dec 2025 01:33:09 PM → 01:33:12 PM]   There's a hole in the wall with exposed wiring behind it.

[Mon 01 Dec 2025 01:33:12 PM → 01:33:19 PM]   This is a safety hazard and will need to be repaired.

## image_3.jpeg captured at Mon 01 Dec 2025 01:33:29 PM

[Mon 01 Dec 2025 01:33:31 PM → 01:33:34 PM]   Okay, so this is on the same area.

[Mon 01 Dec 2025 01:33:34 PM → 01:33:36 PM]   The left side of the hall.

[Mon 01 Dec 2025 01:33:36 PM → 01:33:38 PM]   The middle light is not working.

[Mon 01 Dec 2025 01:33:38 PM → 01:33:39 PM]   It's not functioning.

[Mon 01 Dec 2025 01:33:39 PM → 01:33:45 PM]   This leaves the middle of the hallway dimmer than the other parts and may result in someone tripping.

[Mon 01 Dec 2025 01:33:45 PM → 01:33:48 PM]   They don't see something on the floor.

## image_4.jpeg captured at Mon 01 Dec 2025 01:34:06 PM

[Mon 01 Dec 2025 01:34:07 PM → 01:34:12 PM]   Okay, so now we're on the end of the left side of the hallway.

[Mon 01 Dec 2025 01:34:12 PM → 01:34:17 PM]   The vent is broken and it's also dusty.

[Mon 01 Dec 2025 01:34:17 PM → 01:34:23 PM]   And the best solution would be to replace this in the future.

## image_5.jpeg captured at Mon 01 Dec 2025 01:34:34 PM

[Mon 01 Dec 2025 01:34:37 PM → 01:34:45 PM]   So this is the kind of theme in this hall is that the baseboards are coming apart from the wall.

[Mon 01 Dec 2025 01:34:45 PM → 01:34:59 PM]   It will need just need to be called repainted all around the floor for it to be on the wall.

## image_6.jpeg captured at Mon 01 Dec 2025 01:35:12 PM

[Mon 01 Dec 2025 01:35:14 PM → 01:35:23 PM]   Okay, so now we're in the middle of the end of the hallway.

[Mon 01 Dec 2025 01:35:23 PM → 01:35:26 PM]   There is a water stain on one of the tiles.

[Mon 01 Dec 2025 01:35:26 PM → 01:35:33 PM]   This can indicate a AC leak that will need to be repaired in the future.

## image_7.jpeg captured at Mon 01 Dec 2025 01:36:03 PM

[Mon 01 Dec 2025 01:36:05 PM → 01:36:08 PM]   Okay, so now we are on the end of the right side of the hallway.

[Mon 01 Dec 2025 01:36:08 PM → 01:36:13 PM]   Again, as is the last time, there's a whole wall with exposed wiring.

[Mon 01 Dec 2025 01:36:13 PM → 01:36:20 PM]   This can prove to be a safety hazard and will need to be replaced or repaired as soon as possible.

## image_8.jpeg captured at Mon 01 Dec 2025 01:36:52 PM

[Mon 01 Dec 2025 01:36:48 PM → 01:36:58 PM]   Okay, so now we're in the middle of the left side of the hole.

[Mon 01 Dec 2025 01:36:58 PM → 01:37:02 PM]   There appears to be a crack in the wall, right next to the door, among us, someone having

[Mon 01 Dec 2025 01:37:02 PM → 01:37:06 PM]   carved letters inside of the paint.

[Mon 01 Dec 2025 01:37:06 PM → 01:37:11 PM]   This will need to be repainted and replaced because this crack can lead to eventual structural

[Mon 01 Dec 2025 01:37:11 PM → 01:37:12 PM]   integrity issues.

## image_9.jpeg captured at Mon 01 Dec 2025 01:37:30 PM

[Mon 01 Dec 2025 01:37:12 PM → 01:37:39 PM]   Okay, so on both sides of the hole there is an outlet and it would be useful but it has

[Mon 01 Dec 2025 01:37:39 PM → 01:37:46 PM]   a European cover so that means it cannot be used in appliances or electronics that we have

[Mon 01 Dec 2025 01:37:46 PM → 01:37:47 PM]   here in Arkansas.

[Mon 01 Dec 2025 01:37:47 PM → 01:37:53 PM]   This one needs to be replaced for functionality purposes.

## image_10.jpeg captured at Mon 01 Dec 2025 01:38:24 PM

[Mon 01 Dec 2025 01:38:15 PM → 01:38:29 PM]   Okay, so this is now we're on the end of the left side of the hole.

[Mon 01 Dec 2025 01:38:29 PM → 01:38:39 PM]   One of the tiles needs to be out of place whether because of someone who moved it or whatnot.

[Mon 01 Dec 2025 01:38:39 PM → 01:38:45 PM]   This can prove to I guess this is just more of a aesthetics issue but this is something

[Mon 01 Dec 2025 01:38:45 PM → 01:38:49 PM]   that will need to be fixed.